## Unit Costs
DCSC-25-RFP-015 DC Courts Fire Alarm Inspections, Preventive Maintenance and Assessments
UNIT RATES
|  |  |  | Unit Cost | Unit Cost | Unit Cost | Unit Cost | Unit Cost
Items | Quantiy | Description | Period of Performance | Base Year | Option # 1 | Option #2 | Option #3 | Option #4
Line 1 | 1 | Test and Inspect Fire Alarm Devices | Annually
The following test should be performed at all sites.
Line 3 | 1 | NFPA 72 System Record of Inspection and Testing | 30 days of each building has been tested
Line 4 | 1 | Test Tamper switches and water flow per NNFPA 25 | 2X (January & July)
Line 5 | 1 | Test Fire Pump | Annually
Line 6 | 1 | Standpipe Flow Test | (1) Five Year Test
Line 7 | 1 | Test Pressure Gauges | Annually
Line 8 | 1 | Trip Test | Annually
Line 9 | 1 | Operate Control Valve | Annually
Line 10 | 1 | Lubricate Operating Stems | Annually
Line 11 | 1 | Test and Inspect Pre-Action Sprinkler system | Quarterly
Line 12 | 1 | Test and Inspect tamper switches | Semi-Annually
Line 13 | 1 | Full-trip test and visual inspect entire fire alarm system and sprinkler heads | Annually
Line 14 | 1 | Generator Test with the Courts Generator Contractor to complete Inspection/Testing Checklist | Annually
Line 15 | 1 | Elevator Test with the Courts Elevator Contractor to complete Inspection/Testing Checklist | Annually
Line 16 | 1 | Air Handling Unit Shutdown with the Courts Mechanical Contractor to complete Inspection/Testing Checklist | Annually
|  |  | Total Per Year | 0 | 0 | 0 | 0 | 0 | 0

## Hourly Rates
DCSC-25-RFP-015 DC Courts Fire Alarm Inspections, Preventive Maintenance and Assessments
LABOR RATES
| Hourly Rate | Hourly Rate | Hourly Rate | Hourly Rate | Hourly Rate
Position | Base Year | Option # 1 | Option #2 | Option #3 | Option #4
Project Manager
Superintendent
Lead Field Technician
Lead Technician
Master Electrician
Journey Electrician
Administrative Support
0